Office and Classroom Safety

Self-Audit Checklist

Building ______________________________	Room __________	Supervisor ______________________	 Date _________

Audit Performed by _____________________________

|  | Y | N | NA | COMMENTS |
| --- | --- | --- | --- | --- |
| A. Walking Surfaces |
| Aisles established and clear |  |  |  |  |
| No tripping hazards present |  |  |  |  |
| Floors even (no holes or cracks) |  |  |  |  |
| Carpets and rugs secure |  |  |  |  |
| Floors kept dry - not slippery |  |  |  |  |
| Entrance mats available (wet weather) |  |  |  |  |
| Outside walkways, stairs, and parking areas in good repair |  |  |  |  |
| B. Bookcases, Shelves, Cabinets |
| Wall shelves designed for intended load |  |  |  |  |
| Shelves not overloaded |  |  |  |  |
| Heavy storage cabinets, bookcases and file cabinets secured from tipping |  |  |  |  |
| File drawers closed when not in use (only one open at a time to prevent tipping) |  |  |  |  |
| C. Electrical Hazards |
| All extension cords are 3-wire type and in good condition - no splices or broken insulation |  |  |  |  |
| Limit extension cords to ten feet in length |  |  |  |  |
| Only one extension cord used - not plugged into other extension cords |  |  |  |  |
| Equipment power cords in good condition - no splices or broken insulation |  |  |  |  |
| Plugs in good condition - no exposed wires |  |  |  |  |
| Wall outlet and junction box covers in place |  |  |  |  |
| Electric circuit panels clear (at least 30 inches open area) |  |  |  |  |
| Circuits not overloaded - all multiple outlet strips equipped with overload protection |  |  |  |  |
| No wires or extension cords under carpets or rugs, through doorways, or placed in other traffic areas |  |  |  |  |
| D. Stairways, Ramps, Corridors, Storage Areas |
| Adequate lighting in place (including emergency lighting) |  |  |  |  |
| Ramps have non-slip surface |  |  |  |  |
| Stair treads in good condition |  |  |  |  |
| Stairways clear - not used for storage |  |  |  |  |
| Handrails installed - in good condition |  |  |  |  |
| Guardrails installed (where needed) |  |  |  |  |
| Corridors kept clear of equipment and supplies |  |  |  |  |
| No storage within 18 inches of sprinkler heads (24 inches of ceiling where no sprinkler system exists) |  |  |  |  |
| Ladders provided for high storage areas |  |  |  |  |
| E. Office Equipment |
| Chairs in good condition and adjustable (when appropriate) |  |  |  |  |
| Paper cutter equipped with guard - blade spring functioning |  |  |  |  |
| Step stools available for use, where needed (consult with EHS for proper design) |  |  |  |  |
| F. Fire Prevention, Emergency Exits, Housekeeping |
| Fire extinguishers have current inspection tags |  |  |  |  |
| Fire doors not blocked open |  |  |  |  |
| Exits not obstructed and kept unlocked during normal business hours or special events |  |  |  |  |
| Exits properly marked, exit signs illuminated |  |  |  |  |
| Good housekeeping practiced - excess paper, computer cartons, and trash removed |  |  |  |  |
| Office has current emergency action plan - occupants trained upon initial hire and as necessary thereafter |  |  |  |  |
| Electric space heaters only as approved by Facilities Engineering |  |  |  |  |
| G. Classrooms, Places of Assembly |
| Desks are in good condition |  |  |  |  |
| Chairs are in good condition |  |  |  |  |
| Occupancy limits are posted |  |  |  |  |